## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
3 George Parksinson Court
Sherburn Village
Durham
DH6 1EU
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 24-41167
DATE OF REPORT: 03/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-41167
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 3 George Parksinson Court
Sherburn Village
Durham
DH6 1EU
Carried Out On | 03/01/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
small bedroom radiator not heating up and licking noise in loft when heating is on.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-41167
SECTION 3: Report
PN 03/01/24 Pin stuck on trv radiator now working 2 port valve clicking Replaced valve waiting for electrician to wire up

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-41167
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41167
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41167
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41167
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41167
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes