## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
10 George Parkinson Court
Sherburn
DH61UE
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 24-41170
DATE OF REPORT: 02/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-41170
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 10 George Parkinson Court
Sherburn
DH61UE
Carried Out On | 02/01/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Tenant unable to turn heating off, struggling with temperatures.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-41170
SECTION 3: Report
PN 02/01/24 Thermostat not turning boiler off showed tenant how to turn boiler off and on Danfoss thermostat hardwired Tenant at hospital on /03/01/23 Ring in afternoon 0191 3721783

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-41170
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41170
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41170
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41170
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41170
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes