## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
26 Priestlands Crescent
Hexham
NE46 2AQ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-41184
DATE OF REPORT: 03/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-41184
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 26 Priestlands Crescent
Hexham
NE46 2AQ
Carried Out On | 03/01/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-41184
SECTION 3: Report
Images Required ( All images are Mandatory ) Boiler image showing the whole installation inc pipework - Flue route within loft space or boxing - Flue termination inc roof if vertical - Condensate Termination - Prv Termination - Radiators within the property inc valves - Fuse Board - Gas Meter - Stop Tap - Boiler & Alarms Section Upstairs Smoke Alarm Location & Date - Downstairs Smoke Alarm Location &date Hall0134/ lounge0534/lan0534/utility0134 Heat Alarm Location & Date -kit0134 Co Alarm Location & Date -utility0833 Boiler to be removed -greenstar 24i junior Boiler Serial number - Job Type – Conversion / boiler replacement / full heating -boiler replacement Combi / heat only / system boiler -combi Boiler location -utility Is 22mm gas pipe visible at boiler -yes Flue type ( Vertical / Horizontal ) - horizontal No of Flue Extensions - No of Flue 45 - No of Flue 90's - Scaffolding required -no Flue guard needed -no Standoff kit required -yes Gas meter internal / external –internal Condensate Requirements Is a Condensate pump required ( Yes / No ) -no Condensate current termination currently acceptable ( Yes / No ) -yes If no what needs to be amended to bring it up to regs ? Is the condensate currently through the wall in 19 or 32mm ? Internal Number of radiators at the property - Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - 15-15mm Size of pipework at radiators -15mm Number of bathrooms -1 Electric shower - Any other means of heating -no Current Cooker Type – Electric / Gas - electric Current Fire Type – Electric / Gas- none Full Heating Section ( Measure pipe and trunking accurately ) 22mm Pipe Required in meters - 15mm Pipe Required in meters - Talon Trunking 15mm double required - Talon Trunking 22mm double required - Talon Trunking external corners & Size - Talon Trunking internal corners & Size - Talon Trunking End Caps & Size - Talon Trunking connectors & Size -

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-41184
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41184
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41184
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41184
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41184
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes