## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
10 Cyril Street
Consett
DH8 5NR
CARRIED OUT ON BEHALF OF
Walton Property & Investments Ltd
REPORT NUMBER: 24-41206
DATE OF REPORT: 29/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-41206
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Walton Property & Investments Ltd
Address | 12 Bainbridge Close
Consett
DH8 7EG
Site Address | 10 Cyril Street
Consett
DH8 5NR
Carried Out On | 05/01/2024, , 09/01/2024
Survey Completed By | John Bolton
SECTION 2: Introduction
lease investigate issues with pressure and carry out CP12

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-41206
SECTION 3: Report
Traced fault to a blocked expansion vessel hose ordered a new one in from Wolsley consett for Monday morning I’m also going to replace the prv as it’s been operating it for a long time. Job back on for Monday between 10 and 12. Replaced hose and tried to unblock manifold but unable to. Called Wolsley Consett for a new part full hydro block requires replacement £382.00 + vat for part so haven’t ordered yet until James speaks to owner. Block has been leaking under the boiler so it’s gone rusty. I’d recommend boiler replacement. Photos sent to admin.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-41206
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41206
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41206
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41206
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41206
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes