## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Castle Court
Annfield Plain
Stanley
DH9 7SA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-41210
DATE OF REPORT: 03/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-41210
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Castle Court
Annfield Plain
Stanley
DH9 7SA
Carried Out On | 03/01/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Attend site to investigate communal boiler issues, call D Hunter from site.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-41210
SECTION 3: Report
PN 03/01/23 E105 error on boilers reset boiler Switched shunt pump no1 off Checked radiators in communal areas All getting hot

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-41210
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41210
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41210
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41210
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41210
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes