## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Stanley Court ( Communal Area )
Stanley
Durham
DH9 6HD
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-41221
DATE OF REPORT: 04/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-41221
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Stanley Court ( Communal Area )
Stanley
Durham
DH9 6HD
Carried Out On | 04/01/2024
Survey Completed By | John Bolton
SECTION 2: Introduction
No Heating in the dinningroom area - the rooms are fine it is just the communal dining room area - the heating is just blowing out cold air - Linda Gettings has reported this and she believes there has been no heating in this area all over the christmas period

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-41221
SECTION 3: Report
Room was cold when I arrived. Turned on air con and set it I’m auto mode and the fan in auto mode also. Set temperature to 28 degrees and the room started to heat up. Called Linda and spoke to her as she’s off site this afternoon. Could you please send the photos to her of how I’ve set the air con up. Thanks

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-41221
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41221
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41221
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41221
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41221
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes