## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
26 Oakridge
Whickam
NE16 5YD
CARRIED OUT ON BEHALF OF
Brian Watson
REPORT NUMBER: 24-41252
DATE OF REPORT: 05/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-41252
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Brian Watson
Address | 26 Oakridge
Whickham
NE16 5YD
Site Address | 26 Oakridge
Whickam
NE16 5YD
Carried Out On | 05/01/2024
Survey Completed By | John Bolton
SECTION 2: Introduction
Investigate issues with heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-41252
SECTION 3: Report
No heating. Traced fault to a passing diverter cartridge which had broken the actuator head. Picked diverter cartridge and actuator head up from Wolsley and replaced. Tested working ok.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-41252
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41252
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41252
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41252
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41252
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes