## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
The Orchard ( Plant Room )
South Preston Grove
North Shields
NE29 0HB
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-41284
DATE OF REPORT: 25/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-41284
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | The Orchard ( Plant Room )
South Preston Grove
North Shields
NE29 0HB
Carried Out On | 05/01/2024, 11/01/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
Please investigate leak within plant room.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-41284
SECTION 3: Report
Ct 5-1/24 Traced leak back to prv inside bottom boiler. Isolated flow and return to boiler drained down and isolated the electrics to it. 2 other boilers still working on site. Ordered part into wolsley Tyne tunnel with 3-5 day lead time. Fow Replace prv when part has arrived. Ct 11/1/24 Collected prv from Tyne tunnel fitted new prv turned isolation valves on checked no leaks and turned electrics back on. Materials used 6bar Hamworthy prv

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-41284
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41284
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41284
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41284
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41284
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes