## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
32 The Riggs
Corbridge
Northumberland
NE45 5JX
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-41340
DATE OF REPORT: 05/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-41340
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 32 The Riggs
Corbridge
Northumberland
NE45 5JX
Carried Out On | 05/01/2024
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
Planned survery for emergency boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-41340
SECTION 3: Report
Boiler image showing the whole installation inc pipework - Flue route within loft space or boxing - No Flue termination inc roof if vertical - Horizontal Condensate Termination - External Rear Prv Termination - Rear of property Radiators within the property inc valves - 6 Rads, 10mm pipework, 15mm Valves. Fuse Board - Insude above front door. Gas Meter - Front of property. Stop Tap - Not visible, possibly behind Kitchen cupboards. Boiler & Alarms Section Upstairs Smoke Alarm Location & Date - N/A Downstairs Smoke Alarm Location & Date - Jul-31 Heat Alarm Location & Date - Kitchen Jul-31 Co Alarm Location & Date - Kitchen Nov-33 Boiler to be removed - Vaillant EcoTec Plus 824 R1 Boiler Serial number - 210641308520-1300038997N7 Job Type –boiler replacement - Combi Boiler location - Kitchen Is 22mm gas pipe visible at boiler - Yes Flue type ( Vertical / Horizontal ) - Horizontal No of Flue Extensions - 0 No of Flue 45 - 0 No of Flue 90's - 0 Scaffolding required - No Flue guard needed - No Standoff kit required - Yes Gas meter internal / external – External in cupboard near front door. Condensate Requirements Is a Condensate pump required ( Yes / No ) - No Condensate current termination currently acceptable ( Yes / No ) - Yes If no what needs to be amended to bring it up to regs ? N/A Is the condensate currently through the wall in 19 or 32mm ? 40mm Number of radiators at the property - 6 Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - 15mm Valves, 10mm pipework Size of pipework at radiators - 10mm Number of bathrooms - 1 Electric shower - No Any other means of heating - Current Cooker Type – Gas Current Fire Type – None Radiator 1 Location: Kitchen Current Size: H530 x W1130mm Type: Double Max Size: H900 x W1600mm Ceiling Height: 2350mm Room Dimensions: W3100 x L3800 Radiator 2 Location: Lounge Current Size: H530 x W1330mm Type: Double Max Size: W2300 x H590mm Ceiling Height: 2350mm Room Dimensions: W3600 x L3900 Radiator 3 Location: Bedroom Current Size: W740 x H690mm Type: Double Max Size: W1000 x H800mm Ceiling Height: 2350mm Room Dimensions: W2650 x L4050 Radiator 4 Location: Small Bedroom Current Size: W530 x H740mm Type: Single Max Size: W1150 x H900mm Ceiling Height: 2350mm Room Dimensions: W1700 x L3100 Radiator 5 Location: Hallway Current Size: W530 x H550mm Type: Double Max Size: W700 x H900mm Ceiling Height: 2350mm Room Dimensions: W850 x L5100 Radiator 6 Location: Bathroom Current Size: W550 x H690mm Type: Single Max Size: W550 x H800mm Ceiling Height: 2350mm Room Dimensions: W1960 x L1980

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-41340
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41340
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41340
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41340
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41340
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes