## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
35 Hordley Acres
Haydon Bridge
Hexham
NE47 6DR
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-41352
DATE OF REPORT: 07/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-41352
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 35 Hordley Acres
Haydon Bridge
Hexham
NE47 6DR
Carried Out On | 07/01/2024
Survey Completed By | John Bolton
SECTION 2: Introduction
No Heat / Hw

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-41352
SECTION 3: Report
System wouldn’t get up to temperature when I was there it kept cutting out at about 35 degrees then I ended up with a fault that I couldn’t clear. ( E002) sensor B9 boiler. Relating to an ntc sensor. Previous fault history was (E0044) stop high compressor temperature. Confirm with manufacturer ?

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-41352
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41352
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41352
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41352
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41352
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes