## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
35 Hordley Acres
Haydon Bridge
Hexham
NE47 6DR
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-41354
DATE OF REPORT: 23/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-41354
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 35 Hordley Acres
Haydon Bridge
Hexham
NE47 6DR
Carried Out On | 08/01/2024, 16/01/2024, 23/01/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Investigate ASHP issues on site.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-41354
SECTION 3: Report
PN 23/1/24 Buffer tank minimum temp set to high reduced temperature heating turned off Ct 8/1/24 Manged to get onto correct settings. On hw demand goes off after 5/7 minutes or once higher than 43 degrees. Checked mesh filter in flow return next to ashp. Checked pumps running. Had heating on every time gets to 42 degrees goes into defrost. No fault codes coming on PS 16-01-24 DHW slowly heating on arrival however the time cycle was not long enough before switching over. Rang CTC and checked whether any settings would need adjusting with a new compressor fitted which they confirmed they wouldn't. Went through and changed a few temp/time settings at the advice of CTC technical. All working and HW at Max 55°C temp on departure.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-41354
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41354
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41354
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41354
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41354
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes