## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
19 Harvey Court
Consett
County Durham
DH8 6DF
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 24-41355
DATE OF REPORT: 08/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-41355
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 19 Harvey Court
Consett
County Durham
DH8 6DF
Carried Out On | 08/01/2024
Survey Completed By | John Bolton
SECTION 2: Introduction
No heating (new boiler fitted December)

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-41355
SECTION 3: Report
Boiler had a f22 fault drained down boiler and topped up expansion vessel it still had 0.6 of pressure in it. Top up loop has been fitted into the loft so it makes things difficult when topping up also the prv terminates over the light so if the boiler fails it will also trip the electric as it will drain off into the light or into the window if the window is open. Needs to be moved 500mm to the right of its current position with some pipework running to the ground.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-41355
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41355
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41355
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41355
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41355
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes