## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 Courtney Drive
Pelton
Perkinsville
DH2 1JB
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-41397
DATE OF REPORT: 12/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-41397
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 7 Courtney Drive
Pelton
Perkinsville
DH2 1JB
Carried Out On | 12/01/2024
Survey Completed By | John Bolton
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-41397
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y or N/A Y Existing Cylinder & Tanks - Y or N/A N/A Existing Flue Run - Y or N/A Y Existing Controls- Y or N/A Y Stop Tap - Y or N/A Y Gas Meter- Y or N/A Y Distribution Board - Y or N/A Y Existing Condensate - Y or N/A Y New Condensate Termination- Y or N/A Y Existing PRV Termination - Y or N/A Y New PRV Termination - Y or N/A Y Smoke Alarms - Y or N/A Y Co2 Alarms - Y or N/A Y Scaffolding location - Y or N/A N/A Information Required (Must Complete all fields) Smoke Alarm Locations - hall way oct 2030 Co Alarm Location - kitchen jul 2030 Distribution Pannel Location - hall Existing heating control location - hall Existing supply (Natural Gas / LPG / Oil) - gas Solar Thermal (Yes / No) no Existing Boiler Make & Model - baxi duo Tec 28 Existing Boiler serial number - CAC092410564FC Existing Boiler Location - kitchen cupboard Existing Boiler Type (Combi / Heat Only / System boiler) - combi Install Type (Full Heating / Conversion / Boiler Replacement) - boiler replacement New Boiler Location - same Stand off kit required - no New Flue (Horizontal / Vertical) vertical Zenith Mechanical Services Unit 82 & 89, Derwentside Business Centre, County Durham, DH8 6BP Tel: 01207 423333 (Office) Email: admin@zenithmechanical.com Flue Materials Required - flue Scaffolding required -no Gas Meter location (Internal / External) internal Stop tap location - Under sink Stop tap working (Yes / No) yes Existing condensate termination location - pumped through loft New Condensate termination location - same Condensate materials required - yes Condensate Pump (Yes / No) - yes Pressure relief termination location -high level remote prv Number of Bathrooms -1 Number of thermostatic Showers –1 Number of electric Showers – Current Cooker (Gas / Electric) -electric Current Fire (Gas / Electric) - electric Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) -10mm Existing Pipework type (Copper / Speed fit / Hep) -copper Is Speed fit / Hep Barrier protected (Yes / No) - Existing Rad Valve Sizes (8mm / 10mm / 15mm)10mm - Existing TRVS installed (Yes / No) -yes Existing double lock shield radiator (Yes / No) -yes Talon Trunking requirements -

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-41397
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41397
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41397
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41397
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41397
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes