## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Auden House ( Flat 6 )
St Ann’s Court
York
Y010 5FD
CARRIED OUT ON BEHALF OF
54North Homes
REPORT NUMBER: 24-41421
DATE OF REPORT: 21/08/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-41421
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | 54North Homes
Address | Alpha Court
Monks Cross Drive
Huntington
York
YO32 9WN
Site Address | Auden House ( Flat 6 )
St Ann’s Court
York
Y010 5FD
Carried Out On | 09/01/2024, 15/01/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
No Heating in living room

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-41421
SECTION 3: Report
Ct 9/1/24 Zone valve closed on arrival programmer hard to see display so replaced to make easier to see what temp it’s at at ect. Turned heating on waited 10-20 minutes checked floor in living room with thermo camera could see heating pipes heating up so prove it is working with thermostat and actuator. Problem is hall programmer and temp it’s set to reaching before living room reaches temp. I have reduced flow to hall making sure not to fully close to try reduce how quick hall way reaches temp. Pictures sent of prove system working Just as finished time sheet got asked to check hot water. Was just in recover waited 5 minutes temp was climbing Materials Neomitis wired stat Ct 15/1/24 Says its has went off over weekend. Someone has turned power off in towel cupboard. Turned on and tested everything is working again with thermo camera.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-41421
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41421
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41421
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41421
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41421
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes