## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
49 Buxton Close
Jarrow
Tyne and Wear
NE32 5XN
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-41432
DATE OF REPORT: 12/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-41432
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 49 Buxton Close
Jarrow
Tyne and Wear
NE32 5XN
Carried Out On | 09/01/2024, 10/01/2024, 12/01/2024
Survey Completed By | John Bolton
SECTION 2: Introduction
Investigate issues with heating and hot water as it is not heating up as it should

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-41432
SECTION 3: Report
Jw 09/01/24 no heating or hot water Previous fault codes L9 pressure gauge is only showing 1b of pressure, topped pressure to 1.8b Tenant had demand to supply hot water in the cylinder in the middle of the day the heat pump will put the central heating into stand by until the cylinder is satisfied changed hot water circuit timer to more suitable times JB 12/01/24 Was showing L9 fault when I arrived water was dripping out of the pump tightened nuts on pump, topped up expansion vessel re pressurised the system and tested working ok. Any further investigation for leaks will involve lifting floors

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-41432
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41432
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41432
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41432
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41432
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes