## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Weavers Court ( Flat 29 )
Swordy Drive
Alnwick
NE66 1SZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-41459
DATE OF REPORT: 22/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-41459
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Weavers Court ( Flat 29 )
Swordy Drive
Alnwick
NE66 1SZ
Carried Out On | 12/01/2024, 16/01/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
Please attend site to investigate overheating within the flat.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-41459
SECTION 3: Report
Ct Went through system to make sure everything was working correctly thermostats actuator heads and also the underfloor heat with thermo camera. Was then explained Tennant is potentially turning heating all way to 30 then getting to hot. Recommend new thermostat danfoss ones where they can have a restriction so they can be set at a certain temperature is max and minimum Fow Fit 2 x danfoss room stats and restricted 23 degrees on sons request Ct 16/1/24 Fitted 2 new room stats and restricted to max temp 24 and min 15. Explained to both manger and responder that system is working perfect. And is more user error going forward. Materials 2x danfoss rmt 230

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-41459
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41459
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41459
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41459
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41459
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes