## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
32 Derwent Cote
Hamsterley Coillery
NE17 7SG
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-41504
DATE OF REPORT: 17/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-41504
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 32 Derwent Cote
Hamsterley Coillery
NE17 7SG
Carried Out On | 16/01/2024
Survey Completed By | Dan Bruce
SECTION 2: Introduction
Reactive install for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-41504
SECTION 3: Report
Kitchen cupboard to be reinstalled. Pipework boxing under boiler. Pre existing fault with lounge rad not heating. Turned all other rads off still not heating. Removed rad pulled water through legs still not heating. Possible blockage or incorrectly piped

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-41504
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41504
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41504
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41504
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41504
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes