## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Moorcroft ( PPM Remedials )
Bowman Drive
Dudley
NE23 7FF
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-41510
DATE OF REPORT: 16/02/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-41510
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Moorcroft ( PPM Remedials )
Bowman Drive
Dudley
NE23 7FF
Carried Out On | 11/01/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
Repair or replace condensate and PRV pipework, replace expansion vessel

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-41510
SECTION 3: Report
Ct 11/1/24 Completely cut out condensate pipe from boilers and replaced all tees as looked like all been leaking. Cut out and repaired corroded prv pipework and replaced expansion vessel on calorifier 1 Materials 50l floor standing potable expansion vessel total pumps reference 23-41043 Crosslings reference 24-41510 28mm xpress 90x 2 28mm xpress con x2 2m 28mm copper 3/4 -1” bush 1” female ion All white solvent 1 1/2 below 3m pipe 3x tee 3x 90 1x con 3x reduced to 3/4 Solvent glue

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-41510
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41510
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41510
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41510
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41510
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes