## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
19 Coronation Homes
Esh Winning
County Durham
DH8 9PP
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 24-41599
DATE OF REPORT: 15/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-41599
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 19 Coronation Homes
Esh Winning
County Durham
DH8 9PP
Carried Out On | 15/01/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Reactive survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-41599
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y or N/Ay Existing Cylinder & Tanks - Y or N/A y Existing Flue Run - Y or N/A y Existing Controls- Y or N/A y Stop Tap - Y or N/A y Gas Meter- Y or N/A y Distribution Board - Y or N/A Existing Condensate - Y or N/A New Condensate Termination- Y or N/A Existing PRV Termination - Y or N/A NA New PRV Termination - Y or N/A Smoke Alarms - Y or N/A y Co2 Alarms - Y or N/A y Scaffolding location - Y or N/A na Information Required (Must Complete all fields) Smoke Alarm Locations -hall / lounge Co Alarm Location -lounge Distribution Pannel Location -hall Existing heating control location -hall Existing supply (Natural Gas / LPG / Oil) -natural gas Solar Thermal (Yes / No) no Existing Boiler Make & Model -potterton promax 15/2 HEplus Existing Boiler serial number -ATR102460004DC Existing Boiler Location -lounge cupboard Existing Boiler Type (Combi / Heat Only / System boiler) - heat only Install Type (Full Heating / Conversion / Boiler Replacement) -conversion New Boiler Location -lounge cupboard Stand off kit required -no New Flue (Horizontal / Vertical) vertical 4x 45s/ 3x extensions Zenith Mechanical Services Unit 82 & 89, Derwentside Business Centre, County Durham, DH8 6BP Tel: 01207 423333 (Office) Email: admin@zenithmechanical.com Flue Materials Required -4x 45s/ 3x extensions Scaffolding required -no Gas Meter location (Internal / External)external Stop tap location -kitchen Stop tap working (Yes / No) yes Existing condensate termination location -internal New Condensate termination location -internal Condensate materials required - Condensate Pump (Yes / No) - Pressure relief termination location -ioverflow in loft from tank pump needed Number of Bathrooms -1 Number of thermostatic Showers –1 Number of electric Showers –0 Current Cooker (Gas / Electric) -electric Current Fire (Gas / Electric) -electric Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) -15mm Existing Pipework type (Copper / Speed fit / Hep) -copper Is Speed fit / Hep Barrier protected (Yes / No) - Existing Rad Valve Sizes (8mm / 10mm / 15mm) -15 Existing TRVS installed (Yes / No) -yes Existing double lock shield radiator (Yes / No) -yes Talon Trunking requirements -no Radiators Existing Lounge Rad Size -700x 600 Room Length x Width x Height (In meters) - Max New size if applicable -NA Zenith Mechanical Services Unit 82 & 89, Derwentside Business Centre, County Durham, DH8 6BP Tel: 01207 423333 (Office) Email: admin@zenithmechanical.com Existing Kitchen Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Hall Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Dining Room Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bathroom Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bed 1 Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bed 2 Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bed 3 Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Any Other notes

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-41599
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41599
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41599
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41599
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41599
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes