## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Tindale Drive
Fellside Park
Whickham
NE16 4HX
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-41640
DATE OF REPORT: 15/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-41640
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Tindale Drive
Fellside Park
Whickham
NE16 4HX
Carried Out On | 19/01/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
Carry out 6 Monthly Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-41640
SECTION 3: Report
Ct 19/1/24 3x hamworthy purewell variheat mk2 1=operational 2= operational 3=operational 1x 230l cylinder Dhw primary pumps 1x grundfos ups 40-60/2 operational amps= 1.1 1x Wilo yanos maxo 40 operational amps =0.5 Dhw secondary return 1x grundfoss ups 40-50 fn operational amps =0.28 Dhw cylinder has internal expansion vessel 3 way valve Siemens sa561 operational Flamco pressurisation unit operational Heating pumps 1x grundfoss no data badge available operational amps =1.0 1x wilo yonsa maxo 40 operational amps =0.3 Vt valve Siemens 6ax61 operational 1x c/h expansion vessel charged at 1.5 bar 6x prv valves operational Flue good condition 1x interlock operational Valves operational Gauges and sensors operational Electrics from high limit stat exposed not connected inside junction box but outside them connections are safe but should be inside junction box Small leak and crustation on dhw secondary return elbow ( 1x35mm 90 1x 35 mm slip con (3m) 35mm pipe ) Water sample taken Lagging good

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-41640
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41640
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41640
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41640
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41640
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes