## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Rudyerd Court
Lower Rudyerd Street
North Sheilds
NE29 6PD
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-41643
DATE OF REPORT: 30/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-41643
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Rudyerd Court
Lower Rudyerd Street
North Sheilds
NE29 6PD
Carried Out On | 25/01/2024
Survey Completed By | Graham Parker
SECTION 2: Introduction
Annual Gas Safety Checks on 3x Remeha Quinta Ace 115.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-41643
SECTION 3: Report
Carried out annual gas safety cp15 to 3 x remeha Quinta boilers. All operational. Also fixed leak to 3” heat meter

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-41643
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41643
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41643
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41643
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41643
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes