## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Castle Close
Fellside Park
Whickham
NE16 4HU
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 24-41650
DATE OF REPORT: 30/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-41650
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Castle Close
Fellside Park
Whickham
NE16 4HU
Carried Out On | 22/01/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
Carry out 6 Monthly Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-41650
SECTION 3: Report
Castle close ppm 3x Hamworthy purewell variheat mk2 1= operational 2=operational 3=operational 7prv operational 1x c/h expansion vessels charged at 1.5 bar Jet range pressuration unit fault reset and working now Heating pumps 2x Grundfoss upc 40-60 1= operational amps 1.1 2= operational amps 1.3 Hot water primary pumps 1x Grundfoss magna 1 40-60f operational amps 0.3 1x Grundfoss magna 1 40-80f operational amps 0.5 Hot water return pump 1x Grundfos 40-50 gb operational Amps 0.6 Leak on copper connection to flange required replaced (pump flange to 35mm copper 2x 35 15mm center tee 1x 35mm lever valve 1m 35mm copper) Leak on automatic air vent on heating needs replaced 1/2 thread All sensors working 1x interlock working Valves working Some gauges showing different pressures to readings on others and pressuration unit. Lagging good Water sample taking awaiting results Vt valve Siemens sax61 operational 3 way valve Siemens sas61

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-41650
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41650
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41650
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41650
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41650
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes