## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Spring View ( Communal )
Bristol Drive
Battle Hill
NE28 9TH
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-41653
DATE OF REPORT: 25/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-41653
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Spring View ( Communal )
Bristol Drive
Battle Hill
NE28 9TH
Carried Out On | 17/01/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
Investigate heating issue within the building

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-41653
SECTION 3: Report
Ct 17/1/24 Boilers not getting past 44 degrees. Flow only at 40 return at 30. Turned pumps onto auto adapt heating in flow and return started to rise. To 46 and 38. I then checked heating manuifolds and floors in flat 4/13/24 all ok floors at 30 degrees manifolds 42 flow 36 return. Go arrived on site i said I think boilers not big enough. So we closed all risers. Boilers get to temp open 2 at a time and temperature start dropping again.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-41653
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41653
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41653
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41653
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41653
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes