## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Burn Promenade
Houghton le Spring
Tyne and Wear
DH4 5EW
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 24-41857
DATE OF REPORT: 30/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-41857
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Burn Promenade
Houghton le Spring
Tyne and Wear
DH4 5EW
Carried Out On | 23/01/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
Carry out 6 Monthly Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-41857
SECTION 3: Report
Ct 23/1/24 2x potterton commercial 1= operational 2=operational 2x acv calorifier operational 1x flamco pressuration unit operational 1x ch expansion vessel set at 1.5 bar 2x Dhw expansion vessels 1= 3bar 2= 3bar Flue good condition Boiler pumps 2x Grundfos Magna 1 40-120 1= operational amps 0.4 2= operational amps 0.7 Heating pumps 2x Grundfoss Magna 1 65-120 1= operational amps 0.4 2= operational amps 0.5 Primary pumps 2x grundfos Magna 1 65-60 1= operational amps 0.6 2= operational amps 0.4 Dhw flow pump 1x Grundfos ups 25-55 n operational amps 0.3 Dhw secondary return pump 1x Grundfos ups 25-55 n operational amps 0.3 Prv 7 operational Valves operational Sensors and gauges operational 1x interlock operational Lagging good Vt valve e16-230a operational Water sample took awaiting results 2x manual set mixing valve operational

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-41857
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41857
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41857
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41857
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41857
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes