## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Carville Grange
Carville Road
Wallsend
NE28 6DX
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-41858
DATE OF REPORT: 13/02/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-41858
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Carville Grange
Carville Road
Wallsend
NE28 6DX
Carried Out On | 29/01/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
Carry out 6 Monthly Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-41858
SECTION 3: Report
3x Hamworthy fleet f125v 1= operational 2= operational 3=operational 2x Hamworthy powerstock calorifier operational 1x c/h expansion vessel pressurised to 1.5 bar 2x dhw 1=re pressurised to 3.5bar 2= re pressurised to 3.5bar Heating circuit 1 pumps 2x grundfos magna 3 32-80 1= operational amps 0.11 2= operational amps 0.2 Circuit 2 2x grundfos magna 3 32-80 1= operational amps 0.12 2= operational amps 0.10 2x vt Schneider both in Manual due to BMS not been accessible and not opening on request. Primary dhw pump 2x grundfos mce80a 1= operationa amber fault (dongle required to fault find) amps1.3 2= operational amps 2.1 Secondary return pump Grundfoss operational amps 0.4 8prv operational (ch passing slightly) fig 542 set 3.2 bar 1x interlock operational 2x Schneider 3 port valves All gauges operation Sensors unable to access BMS to confirm Valves operational Lagging good Lagging good Pipe work good Water sample awaiting results

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-41858
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41858
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41858
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41858
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41858
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes