## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Holborn House ( Flat 11 )
Commercial Road
South Shields
NE33 1EA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-41859
DATE OF REPORT: 19/02/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-41859
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Holborn House ( Flat 11 )
Commercial Road
South Shields
NE33 1EA
Carried Out On | 24/01/2024, 18/01/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
Tenant from 11 Holborn House reports he has no heating in his property. This property has a boiler that services all the flats inside it. Please investigate and repair as necessary. Thanks.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-41859
SECTION 3: Report
Jw 18-1-24 3 port body needs replaced stiff actuator won’t move it with out a little help Sintesi comparato Ct 24/1/24 Actuator head inside hiu unit not working off and in manual on arrival. Turned heating on and radiators getting hot Tennant says someone was out last night and fixed it. Heat circulating around system once thermostat was turned on. Fow Hot water and heating actuator for mhs unit

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-41859
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41859
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41859
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41859
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41859
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes