## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
The Orchard ( Laundry )
South Preston Grove
North Shields
NE29 0HB
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-42047
DATE OF REPORT: 25/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-42047
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | The Orchard ( Laundry )
South Preston Grove
North Shields
NE29 0HB
Carried Out On | 23/01/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
Our Engineer has found the meter leaking in loft space above laundry room ceiling - left keys in hatch please make sure keys are put back in HO office thanks, water has been isolated.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-42047
SECTION 3: Report
Engineer Initial - Ct Date of attendance - 23/1/24 Works carried out - cut out and replaced leaking water meter to washing machines. And dried up 1” of of water puddle in middle of floor to best possible. Materials Merchant location used - Material Type and Quantity Used - Reference Number Used in branch - Van stock items Type of item - 2x 15mm slip con xpress 1m 15mm pipe Quantity of item - FoW Follow on works required ( Y/N ) N Materials required for FoW - Fabrics / Patching Required -

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-42047
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42047
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42047
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42047
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42047
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes