## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Feetham Court ( Communal )
Forest Hall
Newcastle Upon Tyne
NE12 9QJ
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-42048
DATE OF REPORT: 25/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-42048
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Feetham Court ( Communal )
Forest Hall
Newcastle Upon Tyne
NE12 9QJ
Carried Out On | 23/01/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
No heating in the building/flats due to power outage

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-42048
SECTION 3: Report
Engineer Initial - Ct Date of attendance - 23/1/24 Works carried out - reset heating pumps as had locked out. Reset boilers. Waited on site heating. Primary heating only going to 40 as water been drawn to hot water tried to reduce pumps on primary hot water so more heat could go through heating whilst both are in demand but locked. So if comes in again with need dongle to alter pump speeds on locked pumps. In return heating hadn’t increased so I have reduced flow and return from header to calorifier waited 10 mins checked hadn’t failed on flow rate and temp had t drop on its flow. Whilst heating flow started to rise Materials Merchant location used - Material Type and Quantity Used - Reference Number Used in branch - Van stock items Type of item - Quantity of item - FoW Follow on works required ( Y/N ) N Materials required for FoW - Fabrics / Patching Required -

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-42048
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42048
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42048
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42048
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42048
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes