## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
34 Bay Court
Ushaw Moor
Durham
DH7 7RU
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-42141
DATE OF REPORT: 19/02/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-42141
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 34 Bay Court
Ushaw Moor
Durham
DH7 7RU
Carried Out On | 19/02/2024
Survey Completed By | John Bolton
SECTION 2: Introduction
Boiler loosing pressure all the time but boiler is brand new, please investigate/repair

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-42141
SECTION 3: Report
The problem is the hot water flow it’s very poor in bathroom and not great at the kitchen sink also the demand on the boiler doesn’t seem correct the fan isn’t at high speed when the demand is fully open if recommend replacing the flow switch but this is a new boiler so unsure what you want to do with it. Pictures sent to admin.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-42141
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42141
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42141
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42141
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42141
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes