## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
2 Candlish Street
South Shields
NE33 3JW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-42231
DATE OF REPORT: 26/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-42231
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 2 Candlish Street
South Shields
NE33 3JW
Carried Out On | 26/01/2024
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Commercial boiler making loud banging

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-42231
SECTION 3: Report
RB 26/01/24 - when on site couldn’t hear banging noise. Care worker showed me a video of the noise which sounds to me like a pump issue. Spoke to DH who said GP is attending on Monday. Also sent information for thermostat request into admin account.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-42231
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42231
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42231
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42231
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42231
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes