## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
3 Aged Minors Homes
Marsden Road
South Shields
NE34 6RJ
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 24-42239
DATE OF REPORT: 28/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-42239
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 3 Aged Minors Homes
Marsden Road
South Shields
NE34 6RJ
Carried Out On | 28/01/2024
Survey Completed By | Rhys Brown
SECTION 2: Introduction
No Heating Or Hot Water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-42239
SECTION 3: Report
RB - 28/01/24 - arrived on site and boiler would not reset. Pressure gauge reeding above 1 bar. After trying a few different things out a little bit of extra water into the boiler and it fired on. Gauge seemed to be stuck but after tapping on the front seemed to go back to the right place. Waited until the boiler come back on (heating and hot water) waited until the rads started to heat.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-42239
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42239
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42239
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42239
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42239
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes