## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
28 Aged Miners Homes
Marsden Road
South Shields
NE34 6RJ
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 24-42241
DATE OF REPORT: 28/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-42241
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 28 Aged Miners Homes
Marsden Road
South Shields
NE34 6RJ
Carried Out On | 28/01/2024
Survey Completed By | Rhys Brown
SECTION 2: Introduction
No Heating or Hot Water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-42241
SECTION 3: Report
RB 28/01/24 - when to property and boiler was switched off. When speaking to the tenants they have said they are having the boiler firing but when I operated the thermostat it was working fine. Possible fault with thermostat but was okay when I was on site.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-42241
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42241
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42241
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42241
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42241
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes