## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
43 Hendon Road
Deckham
Gateshead
NE8 3UD
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 24-42251
DATE OF REPORT: 30/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-42251
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | One Strawberry Lane
Newcastle Upon Tyne
NE1 4BX
Site Address | 43 Hendon Road
Deckham
Gateshead
NE8 3UD
Carried Out On | 29/01/2024, 30/01/2024
Survey Completed By | John Bolton
SECTION 2: Introduction
Fit cooker and bayonet fitting

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-42251
SECTION 3: Report
Submit images of completed works Quite a tight job and need to step over a 22mm pipe to get the bayonet fitting in. Parts needed are. 22mm tee to 15mm Length of 15mm 5x 90s 5x straight Bayonet fitting Straight soldered wall plate Will need at least two hours booking out. Couldn’t get in when I arrived as the tenant was out Lee from Novis came up with a key. Removed kitchen unit to the left of the cooker and piped back to the boiler and t,d into the gas there as it was the neatest option and it meant the cooker could go back flush instead of stepping over the heating flow pipe. Tested working all ok.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-42251
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42251
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42251
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42251
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42251
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes