## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
10 Cyril Street
Consett
DH8 5NR
CARRIED OUT ON BEHALF OF
Walton Property & Investments Ltd
REPORT NUMBER: 24-42256
DATE OF REPORT: 30/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-42256
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Walton Property & Investments Ltd
Address | 12 Bainbridge Close
Consett
DH8 7EG
Site Address | 10 Cyril Street
Consett
DH8 5NR
Carried Out On | 30/01/2024
Survey Completed By | John Bolton
SECTION 2: Introduction
Survey for boiler replcament

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-42256
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y or N/A Y Existing Cylinder & Tanks - Y or N/A Y Existing Flue Run - Y or N/A Y Existing Controls- Y or N/A not fitted Stop Tap - Y or N/A Y Gas Meter- Y or N/A Y Distribution Board - Y or N/A Y Existing Condensate - Y or N/A Y New Condensate Termination- Y or N/A Y Existing PRV Termination - Y or N/A Y New PRV Termination - Y or N/A Y Smoke Alarms - Y or N/A Y Co2 Alarms - Y or N/A Y Existing poor condition radiators – Y or N/A Y Scaffolding location - Y or N/A Na Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) - house Smoke Alarm Locations - top and bottom of stairs Co Alarm Location - kitchen Distribution Pannel Location - front door Existing heating control location - not fitted Existing supply (Natural Gas / LPG / Oil) - gas Solar Thermal (Yes / No) no Existing Boiler Make & Model - potterton Apollo 25 Existing Boiler serial number - KJH114040234ac Existing Boiler Location - kitchen Existing Boiler Type (Combi / Heat Only / System boiler) - combi Install Type (Full Heating / Conversion / Boiler Replacement) - boiler replacement New Boiler Location - same Stand off kit required - no New Flue (Horizontal / Vertical) - horizontal Flue Materials Required - flue Scaffolding required -no Gas Meter location (Internal / External) -internal under stairs Stop tap location -under sink Stop tap working (Yes / No) - yes Existing condensate termination location - out the back of boiler New Condensate termination location - same Condensate materials required -32mm pipe 2x 90 1x45 1x reducer Condensate Pump (Yes / No) - no Pressure relief termination location - back of boiler Number of Bathrooms -1 Number of thermostatic Showers - Number of electric Showers -1 Total number of existing radiators -6 Current Cooker (Gas / Electric) - gas Current Fire (Gas / Electric) -gas

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-42256
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42256
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42256
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42256
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42256
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes