## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
9 Fines Park Court
Annfield Plain
Stanley
DH9 8BY
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 24-42262
DATE OF REPORT: 30/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-42262
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 9 Fines Park Court
Annfield Plain
Stanley
DH9 8BY
Carried Out On | 30/01/2024
Survey Completed By | John Bolton
SECTION 2: Introduction
Reactive survey for boiler replacemnet

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-42262
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y or N/A Y Existing Cylinder & Tanks - Y or N/A Y Existing Flue Run - Y or N/A Y Existing Controls- Y or N/A Y Stop Tap - Y or N/A Y Gas Meter- Y or N/A Y Distribution Board - Y or N/A Y Existing Condensate - Y or N/A V New Condensate Termination- Y or N/A Y Existing PRV Termination - Y or N/A Y New PRV Termination - Y or N/A Y Smoke Alarms - Y or N/A Y Co2 Alarms - Y or N/A Y Existing poor condition radiators – Y or N/A Y Scaffolding location - Y or N/A NA Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) - bungalow Smoke Alarm Locations - hall Co Alarm Location - hall Distribution Pannel Location - porch Existing heating control location - hall Existing supply (Natural Gas / LPG / Oil) - Gas Solar Thermal (Yes / No) yes Existing Boiler Make & Model - vaillant eco Tec 618 R1 Existing Boiler serial number - 21007308525 Existing Boiler Location - hall cupboard Existing Boiler Type (Combi / Heat Only / System boiler) - system Install Type (Full Heating / Conversion / Boiler Replacement) - boiler replacement New Boiler Location - ? Stand off kit required - no New Flue (Horizontal / Vertical) -vertical Flue Materials Required - 2 lengths of flue and vertical flue Scaffolding required -no Gas Meter location (Internal / External) -external Stop tap location -under sink kitchen Stop tap working (Yes / No) - yes Existing condensate termination location - into bathroom New Condensate termination location -same Condensate materials required - 500mm of pipe 3x elbows 2x straights Condensate Pump (Yes / No) - no Pressure relief termination location - front Number of Bathrooms -1 Number of thermostatic Showers -1 Number of electric Showers - Total number of existing radiators -6 Current Cooker (Gas / Electric) -electric Current Fire (Gas / Electric) -gas

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-42262
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42262
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42262
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42262
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42262
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes