## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
16 Magnolia Court
Esh Winning
County Durham
DH7 9NY
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 24-42271
DATE OF REPORT: 29/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-42271
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 16 Magnolia Court
Esh Winning
County Durham
DH7 9NY
Carried Out On | 29/01/2024
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Large leakin the bathroom coming from ceiling through extractor fan large damp patch on ceiling spreading and near light fitting

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-42271
SECTION 3: Report
Leak in roof to be repaired. Light to be disconnected as is about a foot away from where leak is coming from. 07870584870 - Mary call tomorrow 07927626397 - Jimmy call tonight 1.5 hours spent

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-42271
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42271
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42271
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42271
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42271
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes