## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Victoria Court
Front Street
Cullercoats
NE30 4QR
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-42273
DATE OF REPORT: 02/02/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-42273
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Victoria Court
Front Street
Cullercoats
NE30 4QR
Carried Out On | 30/01/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
Carry out 6 Month Mechanical Checks

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-42273
SECTION 3: Report
30/1/24 3x remeha Quinta 115 1= operational 2= operational 3= operational 1x Flamco pressuration unit 1x vt Schneider operational 2xpowerstock calorifiers operational 2x Schneider 3port cal 1 snapped requires replacement not been controlled put in man only slightly. Cal 2 operational . V311t pn16 dn 32 kvs body Heating pumps 2x grundfos magna 3d 40-100f220 1=operational amps 0.23 2= operational amps 0.20 primary pumps 2x grundfos magna 3 40-120 1= operational amps 0.19 2= operational amps 0.22 Dhw secondary return grundfos alpha 2 15-50 operational amps 0.08 2x c/h expansion vessels recharged at 1.5 bar 4x dhw vessels recharged at 3.5 bar All gauges and sensors working All valves operational 1x interlock operational Lagging good Pipework good 7prv operational

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-42273
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42273
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42273
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42273
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42273
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes