## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Neptune Way
Easington Colliery
Peeterlee
SR8 3ET
CARRIED OUT ON BEHALF OF
Believe Housing
REPORT NUMBER: 24-42294
DATE OF REPORT: 30/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-42294
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Believe Housing
Address | Coast House
Spectrum 4
Spectrum Business Park
Seaham
SR7 7TT
Site Address | Neptune Way
Easington Colliery
Peeterlee
SR8 3ET
Carried Out On | 30/01/2024
Survey Completed By | Rhys Brown
SECTION 2: Introduction
No Heating Or Hot Water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-42294
SECTION 3: Report
RB - 30/01/24 - arrived on site and went to main building (donion house) accessed the office where plant room keys were. Went into plant room and found that the gas circuit had tripped due to power cut earlier in the day. Reset the gas circuits and waited for the boiler and tanks to fire up. Checked that heat was coming on and water was getting hot in communal areas.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-42294
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42294
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42294
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42294
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42294
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes