## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Chapelville
Front Street
Seaton Burn
NE13 6EH
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-42315
DATE OF REPORT: 16/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-42315
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Chapelville
Front Street
Seaton Burn
NE13 6EH
Carried Out On | 06/02/2024
Survey Completed By | Graham Parker
SECTION 2: Introduction
Carry out 6 Monthly Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-42315
SECTION 3: Report
Carried out PPM check 2 x Hamworthy fleet f125v boilers 1= operational 2= operational 1 x lochinvar ECH63-370 water heater = operational 1 x lochinvar SHW60-325 = operational 2 x Hamworthy chessill pressurisation units 1= operational 2= operational 1 x ASHP Expansion vessel = operational charged to 1.5 bar 1 x LTHW expansion vessel = operational charged to 1.5 bar 2 x DHWS expansion vessels 1= operational charged to 3.5 bar 2= operational charged to 3.5 bar 1 x Plate heat exchanger = operational 2 x 3 port valves = operational 2 x actuators = operational Valves = operational Gauges = operational Interlock = operational Sensors = operational Lagging = average 1 x secondary return pump grundfos magna 3 25-80= operational 2 x LTHW Grundfos magna 3d 40-150 pumps 1= operational 3.1 amps 2= operational 3.1 amps 2 x ASHP grundfos magna 3d 40-120 pumps 1= operational 0.4 amps 2= operational 0.6 amps 2 x ASHP secondary pumps grundfos magna 3d 32-60 1= operational 0.8 amps 2= operational 0.8 amps Water quality samples taken of potable water and system water

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-42315
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42315
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42315
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42315
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42315
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes