## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
35 Phillip Drive
Amble
NE65 0QU
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-42322
DATE OF REPORT: 12/02/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-42322
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 35 Phillip Drive
Amble
NE65 0QU
Carried Out On | 09/02/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Kitchen install

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-42322
SECTION 3: Report
PN 9/2/24 Kitchen complete Gas pipe adjusted in kitchen 1st fix complete – y 2nd fix complete –y Any other works complete – Any Gas works completed –y Soundness/Tightness test gas supply –y Complete a visual check to all gas appliances –y Complete a gas certificate showing all gas appliances with visual checks only and add comments as work completed testing gas supply only –y Take a picture of gas soundness test at 20mb and submit image – Add/submit any additional notes or images you deem necessary such as existing damages, issues, or concerns – Submitted Images of completed works – Any Follow-on Works required – Give as much information as possible.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-42322
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42322
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42322
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42322
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42322
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes