## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Holborn House
Commercial Road
South Shields
NE33 1EA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-42350
DATE OF REPORT: 03/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-42350
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Holborn House
Commercial Road
South Shields
NE33 1EA
Carried Out On | 04/03/2024, , 18/03/2024
Survey Completed By | Graham Parker
SECTION 2: Introduction
Annual Gas Safety Checks on 3x Elco Thision L120 Boilers

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-42350
SECTION 3: Report
Fan gas valve 3 x fan to gas valve Venturi 3 x gas valve harness required 3 x ionisation probes 3 x spark electrodes 3 x condensate trap and hose 3 x non return flue adapters all rotted through Boiler 2 heat exchanger has burst and burner water damaged beyond repair 1 x ntc Unable to complete cp15 All boilers are uneconomical to repair All sumps are brittle with heat damage Temporary repair carried out on 2 boilers just to get limping along. Boilers are Elco Thison 120 kw

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-42350
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42350
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42350
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42350
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42350
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes