## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Whitburn Towers ( Flat 24 )
Croftside Avenue
Whitburn
SR6 7BT
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-42372
DATE OF REPORT: 02/02/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-42372
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Whitburn Towers ( Flat 24 )
Croftside Avenue
Whitburn
SR6 7BT
Carried Out On | 01/02/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
Tenant in Flat 24 Mr Lowe 07582578693 Reports water blebs appearing in his ceiling in several areas Believes may be from under floor heating to flat above (Flat number unknown)

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-42372
SECTION 3: Report
Ct 1/2/24 Checked underfloor with thermo camera no spillage of heat all staying in perfect shape for pipe work so no signs of leaks on underfloor in flat 33. also checked boiler room to see if pressure dropped any which it didn’t. Tennat in 24 going to monitor marks. Also asked housing officer about key access should be in fire box where there’s a key safe next to but no access code.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-42372
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42372
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42372
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42372
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42372
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes