## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
14 Cherry Crescent
Holme-on-Spalding-Moor
York
YO43 4HS
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 24-42391
DATE OF REPORT: 02/02/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-42391
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | One Stawberry Lane
Newcastle upon Tyne
NE1 4BX
Site Address | 14 Cherry Crescent
Holme-on-Spalding-Moor
York
YO43 4HS
Carried Out On | 01/02/2024
Survey Completed By | Matthew Wall
SECTION 2: Introduction
No heating or hot water, boiler showing blank

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-42391
SECTION 3: Report
New rcd fuse spur knocked off with mop in cupboard Turned on all ok

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-42391
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42391
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42391
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42391
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42391
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes