## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Windsor Grange ( Plant Room )
Camberley Road
Wallsend
NE28 0PN
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-42397
DATE OF REPORT: 21/02/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-42397
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Windsor Grange ( Plant Room )
Camberley Road
Wallsend
NE28 0PN
Carried Out On | 02/02/2024
Survey Completed By | Graham Parker
SECTION 2: Introduction
Investigate leak within plant room

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-42397
SECTION 3: Report
After cutting back the lagging on the primary flow pipe to the low loss header, was noticed that the steel pipe work has rotted inside out and penetrated the entire wall of the pipe thus causing the leak

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-42397
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42397
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42397
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42397
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42397
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes