## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Wadham Court ( Flat 8 )
Shaftesbury Avenue
Sunderland
SR2 0AP
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-42440
DATE OF REPORT: 02/05/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-42440
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Wadham Court ( Flat 8 )
Shaftesbury Avenue
Sunderland
SR2 0AP
Carried Out On | 02/02/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
ZENITH to attend the scheme various jobs attached to this job on an email urgent is flat 8 leaking boiler flat 7&9 have no hot water 7443383546 dawn hardy scheme

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-42440
SECTION 3: Report
Ct 2/2/24 Fixed leak on overflow tindish also attempted to lift pipe work as was falling wrong way so not flowing away. Altered ball valve top stop from overfilling in future Flat 7 no answer Flat 9 Cylinder immersion and tmv working fine. Kitchen tap 54 degrees. Problem with bath temp which is 41 with a bath shower mixer so Is correct however Tennant isn’t happy as to cold for her to have a bath. Also she is having to manually turn immersion on as someone has disconnected one impression and her timer control box for water timer. This is to be reported back to electricians who have been and disconnected. And to find out situation with taps.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-42440
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42440
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42440
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42440
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42440
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes