## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Park View ( Flat 7 )
Park Road
Lynemouth
NE61 5XL
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-42511
DATE OF REPORT: 06/02/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-42511
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Park View ( Flat 7 )
Park Road
Lynemouth
NE61 5XL
Carried Out On | 06/02/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
No Heating & Hot water. Was multiple flats affected last night all resolved apart from this flat called tenant this morning and still has no heating and hot water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-42511
SECTION 3: Report
PN 6/2/24 Radiator valves pins stuck Released kitchen one radiator now working One in lounge won’t release need repalced

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-42511
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42511
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42511
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42511
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42511
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes