## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
21 Park Drive
Langley Park
DH7 9TD
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-42617
DATE OF REPORT: 08/02/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-42617
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 21 Park Drive
Langley Park
DH7 9TD
Carried Out On | 08/02/2024
Survey Completed By | John Bolton
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-42617
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y or N/A y Existing Cylinder & Tanks - Y or N/A na Existing Flue Run - Y or N/A y Existing Controls- Y or N/A y Stop Tap - Y or N/A y Gas Meter- Y or N/A y Distribution Board - Y or N/A y Existing Condensate - Y or N/A y New Condensate Termination- Y or N/A y Existing PRV Termination - Y or N/A y New PRV Termination - Y or N/A y Smoke Alarms - Y or N/A y Co2 Alarms - Y or N/A y Existing poor condition radiators – Y or N/A na Scaffolding location - Y or N/A no Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) –house Existing Loft insulation thickness in mm (Example “200mm”) - Smoke Alarm Locations - landing and bottom of stairs Co Alarm Location - bathroom Distribution Pannel Location - bottom of stairs Existing heating control location - bottom of stairs Existing supply (Natural Gas / LPG / Oil) - gas Solar Thermal (Yes / No) no Existing Boiler Make & Model -Vaillant pro 28 Existing Boiler serial number -211013308511 Existing Boiler Location - bathroom cupboard Existing Boiler Type (Combi / Heat Only / System boiler) - combi Install Type (Full Heating / Conversion / Boiler Replacement) - boiler replacement New Boiler Location -same Stand off kit required -no New Flue (Horizontal / Vertical) -horizontal Flue Materials Required - horizontal flue Scaffolding required -no Gas Meter location (Internal / External) -external Stop tap location - under sink Stop tap working (Yes / No) -yes Existing condensate termination location - internal barroom waste New Condensate termination location - same Condensate materials required - 5 of each fitting and a length of 19 Condensate Pump (Yes / No) - no Pressure relief termination location - rear of boiler Number of Bathrooms -1 Number of thermostatic Showers -1 Number of electric Showers -0 Total number of existing radiators -8 Current Cooker (Gas / Electric) - electric Current Fire (Gas / Electric) - electric Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) -10 Existing Pipework type (Copper / Speed fit / Hep) -copper Is Speed fit / Hep Barrier protected (Yes / No) - Existing Rad Valve Sizes (8mm / 10mm / 15mm) -10 Existing TRVS installed (Yes / No) -yes Existing double lock shield radiator (Yes / No) - yes Talon Trunking requirements –non Only complete radiators if existing are poor condition or a full heating replacement Radiators Existing Lounge Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Kitchen Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Hall Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Dining Room Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bathroom Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bed 1 Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bed 2 Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bed 3 Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Any Other notes

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-42617
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42617
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42617
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42617
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42617
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes