## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
3 Aged Miners Homes
Plasworth Road
Sacriston
DH7 6PH
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 24-42704
DATE OF REPORT: 09/02/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-42704
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 3 Aged Miners Homes
Plasworth Road
Sacriston
DH7 6PH
Carried Out On | 09/02/2024
Survey Completed By | John Bolton
SECTION 2: Introduction
Total loss of power

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-42704
SECTION 3: Report
Power tripped when the tennant switched the kettle on. Unplugged kettle reset RCD and restored power. Tested kettle all ok however suspect element is on its way to becoming broken. Spoke to tennant and advised if problem persist to replace the kettle.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-42704
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42704
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42704
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42704
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42704
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes