## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
12 Harvey Court
Consett
County Durham
DH8 6DF
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 24-42708
DATE OF REPORT: 09/02/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-42708
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 12 Harvey Court
Consett
County Durham
DH8 6DF
Carried Out On | 09/02/2024
Survey Completed By | John Bolton
SECTION 2: Introduction
No heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-42708
SECTION 3: Report
Heating was working when I arrived but tenant complained of the boiler banging stripped and cleaned burner re built and tested working ok also told tenant she would be better setting the thermostat to 21 than 30 as the boiler will fire up more at a higher temperature.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-42708
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42708
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42708
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42708
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42708
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes