## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
42 Chester Road Estate
Stanley
DH9 0QD
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-42709
DATE OF REPORT: 09/02/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-42709
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 42 Chester Road Estate
Stanley
DH9 0QD
Carried Out On | 09/02/2024
Survey Completed By | John Bolton
SECTION 2: Introduction
Survey for radiator replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-42709
SECTION 3: Report
Only complete radiators if existing are poor condition or a full heating replacement Radiators Existing Lounge Rad Size -1750 x 400 Room Length x Width x Height (In meters) -4.3 x 3.6 x 2.35 Max New size if applicable - 1800 x 400 Existing Kitchen Rad Size - 840 x 530 Room Length x Width x Height (In meters) -4m x 2.6m x 2.35 Max New size if applicable -1200x 600 Existing Hall Rad Size - 550 x 550 Room Length x Width x Height (In meters) - 1.1x 1.3x 2.35 Max New size if applicable -600x 600 Existing Dining Room Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bathroom Rad Size - 540x 540 Room Length x Width x Height (In meters) - 1.6 x 2.2 x 2.35 Max New size if applicable - 600x 600 Existing Bed 1 Rad Size -110x 550 Room Length x Width x Height (In meters) - 3.5x 3.3x 2.35 Max New size if applicable -1400x600 Existing Bed 2 Rad Size - 820x 540 Room Length x Width x Height (In meters) -2.7 x 2.4 x 2.35 Max New size if applicable -1400x 600 Existing Bed 3 Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - hall 840x 540 Room Length x Width x Height (In meters) - 5 m x 1.3x 2.35 Max New size if applicable - 1200x 600 Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Any Other notes

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-42709
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42709
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42709
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42709
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42709
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes